## Slide 1: OPC UA with WinCC

## Slide 2
Kepserver EX
WinCC PRO
Classic OPC Comm
Classic OPC allows to access only the current data and is incapable to generate alarms, historical events whereas OPC UA supports features like historical events, multiple hierarchies and provides methods and programs (that are called commands).
We have already Seen this tutorial Before.
Not need Any Server Endpoint

## Slide 3
Kepserver EX
WinCC PRO
OPC UA Comm
Transferring Data From Kepserver EX to WinCC PRO. In this Case Kepserver Act as Server and WinCC act As Client.
It works on Server endpoint
Opc.tcp:// machinename or IP’s :port name
OPC UA Server
OPC UA Client

## Slide 4
OPC UA Endpoint configuration with security Setting.

## Slide 5
Kepserver OPC UA Server Endpoint Name

## Slide 6
Create RANDOM Datatype TAG from Simulator Channel and Test IT.

## Slide 7
Kepserver EX
WinCC PRO
OPC UA Comm
Transferring Data From Wincc PRO to Kepserver EX. In this Case Kepserver Act as Client and WinCC act As Server.
It works on Server endpoint
Opc.tcp:// machinename or IP’s :port name
OPC UA Client
OPC UA Server

## Slide 8
Create New Channel Using OPC UA Client

## Slide 9
Create Screen , Add object ang Generate Internal TAG and System Tag Like User Login.

## Slide 10
Add Device and Import TAG From Wincc Server.

## Slide 11
Test Imported TAG in OPC Quick Client.