## Slide 1: Channel Diagnosis and Troubleshooting

## Slide 2
Step 1 : Create One simple Project as shown in Pic. And Run the runtime

## Slide 3
Step 2 : Used Diagnosis Overview Tool available in Right side menu. Drag and Drop tool
in project

## Slide 4
Step 4 : Run the Runtime and Check Simulation.If all configuration is ok
then it will show connected. All tick must be in green in diagnosis overview.

## Slide 5
Step 5 : Now remove profinet cable from PLC and It must be disconnected and
all green tick will be converted in Red.